**To Construct the Rivulets and Roads**

**12. Sh. NEERAJ SHARMA (Faridabad Nit):-**

Will the Urban Local Bodies Minister be pleased to state:-

a) whether it is a fact that the rivulets for water drainage and road from Lalu S.T.D., Nangla Enclave upto Gazipur in Ward No. 9 of Faridabad N.I.T. Assembly Constituency are in damaged condition; if so, the time by which the said rivulets and road are likely to be constructed;

b) whether it is also a fact that the rivulets for water drainage on both side of the road from Atal Chowk to Sonia Chowk in Ward No-9 are in damaged condition; if so, the time by which the said rivulets and road are likely to be constructed;

c) whether it is also a fact that the rivulets for water drainage on the both side of the road from Subhash Chowk to Antram Chowk in Ward No-9 are in damaged condition; if so, the time by which the said rivulets and road are likely to be constructed; and

d) whether it is also a fact that the rivulets for water drainage on both side of the road from Subhash Chowk to Gazipur in Ward No-9 are in damaged condition; if so, the time by which the said rivulets and road are likely to be constructed?

**Dr. Kamal Gupta, Urban Local Bodies Minister**

1. Sir, the road from Lalu S.T.D., Nangla Enclave upto Gazipur in Ward No. 9 of Municipal Corporation Faridabad is a kachha road and no drainage system exist along this road. At present, there is no proposal under consideration with Municipal Corporation Faridabad to construct the said road alongwith the drains. The proposal to construct the said road with drains will be considered by Municipal Corporation Faridabad only after laying of sewerage and water supply line as per availability of funds.
2. Sir, the drainage system on both sides of the road from Atal Chowk to Sonia Chowk in Ward No-9 is not in good condition. Construction of this road alongwith drain/nallah on both sides will be undertaken by Municipal Corporation Faridabad as per availability of funds.
3. Sir, the existing drainage system on both sides of the road from Subhash Chowk to Antram Chowk in Ward No-9 is not in good condition. Construction of this road alongwith drain/nallah on both sides will be undertaken by Municipal Corporation Faridabad as per availability of funds.
4. Sir, the drainage system on both sides of the road from Subhash Chowk to Gazipur in Ward No-9 is not in good condition and is under capacity. Construction of this road alongwith drain/nallah on both sides will be undertaken by Municipal Corporation Faridabad when funds are made available.

**ukyksa rFkk lM+dksa dk fuekZ.k djuk**

**12- Jh uhjt “kekZ ¼Qjhnkckn ,uvkbZVh½%**

D;k “kgjh LFkkuh; fudk; ea=h d`i;k crk,axs fd%&

¼d½ D;k ;g rF; gS fd Qjhnkckn ,u-vkbZ-Vh ds okMZ u- 9 esa ykyw ,l-Vh-Mh-] uaxyk bUdyso ls xthiqj rd ikuh dh fudklh ds fy, ukys rFkk lM+d cqjh voLFkk esa gS( ;fn gka] rks mDr ukyksa rFkk lM+d ds dc rd fufeZr fd;s tkus dh laHkkouk gS(

¼[k½ D;k ;g rF; gS fd okMZ u- 9 esa vVy pkSd ls lksfu;k pkSd rd lM+d ds nksuksa vksj ikuh dh fudklh ds fy, ukys cqjh voLFkk esa gS( ;fn gka] rks mDr ukyksa rFkk lM+dksa ds dc rd fufeZr fd;s tkus dh laHkkouk gS(

¼x½ D;k ;g rF; gS fd okMZ u- 9 esa lqHkk’k pkSd ls vUrjke pSd rd lM+d ds nksuksa vksj ikuh fudklh ds fy, cqjh voLFkk esa gS( ;fn gka] rks mDr ukyksa ,oa lM+dksa ds dc rd fufeZr fd;s tkus dh laHkkouk gS( rFkk

¼?k½ D;k ;g Hkh rF; gS fd okMZ u- 9 esa lqHkk’k pkSd ls xthiqj rd lM+d ds nksuksa vksj ikuh dh fudklh ds fy, ukys cqjh voLFkk esa gS( ;fn gka] rks mDr ukys ,oa lM+dksa ds dc rd fufeZr fd;s tkus dh laHkkouk gS\

**Mk0 dey xqIrk] 'kgjh LFkkuh; fudk; ea=h**

¼d½ Jheku th] uxj fuxe Qjhnkckn ds okMZ uacj 9 esa ykyw ,l-Vh-Mh-] uaxyk bUdyso ls xthiqj rd dh lM+d dPph lM+d gS vkSj bl lM+d ds lkFk dksbZ ty fudklh ç.kkyh ekStwn ugha gSA orZeku esa uxj fuxe Qjhnkckn ds ikl lM+d o ukyh fuekZ.k dk dksbZ çLrko fopkjk/khu ugha gSA uxj fuxe Qjhnkckn }kjk mDr lM+d o ukyh fuekZ.k ds dk;Z dks djokus ds izLrko ij lhojst ,oa tykiwfrZ ykbZu Mkyus mijkar o jkf'k dh miyC/krk ds vk/kkj ij fopkj fd;k tk;sxkA

¼[k½ Jheku th] okMZ u- 9 esa vVy pkSd ls lksfu;k pkSd rd lM+d ds nksuksa vksj ikuh dh fudklh dh O;oLFkk Bhd ugha gSA bl lM+d o nksuksa vksj ukyh@ukys ds fuekZ.k dk dk;Z uxj fuxe Qjhnkckn }kjk /kujkf”k dh miyC/krk ds vuqlkj fd;k tk;sxkA

¼x½ Jheku th] okMZ u- 9 esa lqHkk’k pkSd ls vUrjke pkSd rd lM+d ds nksuksa vksj ikuh dh fudklh dh O;oLFkk Bhd ugha gSA bl lM+d o nksuksa vksj ukyh@ukys ds fuekZ.k dk dk;Z uxj fuxe Qjhnkckn }kjk /kujkf”k dh miyC/krk ds vuqlkj fd;k tk;sxkA

¼?k½ Jheku th] okMZ u- 9 esa lqHkk’k pkSd ls xthiqj rd lM+d ds nksuksa vksj ikuh dh fudklh dh O;oLFkk Bhd ugha gSA bl lM+d o nksuksa vksj ukyh@ukys ds fuekZ.k dk dk;Z uxj fuxe Qjhnkckn }kjk /kujkf”k miyC/k djk;s tkus ij fd;k tk;sxkA